## Text
Vista-48/12 Translation File V4.0 - May 2006
Label | Translated text | Limits | English | When Displayed | Comments
_siLRRWords | LngRng Radio | L1=6 L2=10 | LngRng Radio | Long Range Radio Failure | Tamper 103LngRng Radio
_siDisArmed | **DISINSERITO** | L1=16 | *** DISARMED ***
| INS. *PARZIALE* | L1=16 | ARMED ** STAY **
| INSERITO TOTALE | L1=16 | ARMED ** AWAY **
_siXDisByp | SPENTO ZONE ESC | L1=16 | DISARMED BYPASS
_siXDisChime | SPENTO GONG ON | L1=16 | DISARMED CHIME
| INS.*IMMEDIATO* | L1=16 | ARMED *INSTANT*
| INS. MAX. PROT. | L1=16 | ARMED *MAXIMUM*
_siEntMsg | DISINSERIRE | L1=16 | DISARM SYSTEM | During Entry Delay
| attiva allarme | L2=16 | or alarm occurs
_siBusyMsg | Attendere, prego | L1=16 | Busy - Standby | Power-up delay display | Line 2 = product.
| *PARZIALE-NOTTE* | L1=16 | ***NIGHT-STAY***
_siRdy2Arm | Pronto | L2=10 | Rdy to Arm | When system is disarmed | Reserve 6 characters to display time if enabled
_siChimeRdy2Arm | GONG si puo ins. | L1=16 | CHIME,Rdy to Arm12 | Disarmed with Chime
_siCallFWChm | DISINS. GONG/CF | L1=16 | DISARMED CHME/CF | Disarmed with Chime and call forward enabled
_siCallF | DISINSERITO CF | L1=16 | DISARMED CF | Disarmed with Call forward active
_siXFire | INCENDIO | L1= 4 | FIRE
_siXFireTrbl | ANOM INCENDIO | L2=13 | Fire TROUBLE
_siAllScur | INSERITO | L2=10 | All Secure | After Exit time, when Armed
_siXFault | APERTA | L1=13 | FAULT | Fault XX, where xx=Zone
_siXPrsStarMsg | Premi tasto * | L2=16 | Hit * for faults | Message waiting to be displayed
_siXCOTrb | GUASTO CO | L1=13 | CO Trouble | Carbon Monoxide Trouble
_siXAlarm | ALLARME | L1=13 | ALARM
_siXCheck | VERIFICA | L1=13 | CHECK | A trouble exists
_siTamper | TAMPER | L1=13 | TAMPER
_siXTmprArmd | ALRM_TAMPER | L1=13 | TAMPER ALARM | Tamper Alarm
_siZneByp | ZONA ESCLUSA | L2=16 | ZONE BYPASSED | Displayed armed if bypass
_siExitMsg0 | Uscire adesso | L2=13 | Exit Now | During Exit if Final Set selected
_siExitMsg | Puoi uscire | L2=12 | May Exit Now | During Exit if Countdown | 13 if exit time less then 100 seconds
_siXExitAlm | Allarme uscita | L1=13 | Exit Alarm | Exit Error Alarm
_siXCancelAlm | All.Annullato | L1=13 | Alarm Canceled
_siXBypass | ESCLUSIONE | L1=13 | Bypass
_siXLowBat | BATT. BASSA | L1=13 | LOBAT | Low Battery
_siXKpLoBat | BATT.TASTIERA | L1=13 | KYPD LB | Keypad Low Battery (wireless)
_siACLOSS | MANCANZA RETE | L1=13 | AC LOSS
_siSysLowBat | BATT. SISTEMA | L1=13 | SYSTEM LO BAT
_siBellFail | SUPERV.SIRENA | L1=13 | Bell Failure
_siLineCut | NO LINEA TEL. | L1=13 | Telco Fault
_siCommFail | COMUN.FALLITA | L1=13 | COMM. Failure | CS Communication Failure
_siModemComm | COMUN.MODEM | L1=13 | MODEM COMM
_siUPDErr | CARICO FALLITO | L1=13 | UPLOAD FAILED
_siUPDOk | CARICO COMPLETO | L1=13 | UPLOAD COMPLETED
_siXmitSnif | ASCOLTO RF | L1=13 | Sniffer Mode | Displays if Installer starts
_siphokMsg | TELF. OKAY | L1=13 | PHONE OKAY
_sitstMsg | 1=TEL. 0=WALK | L2=13 | 1=Dial, 0=Walk | Menu for Walk/Dial test
_sitipgMsg | TEST ATTIVO | L1=16 | Test In Progress | Message in Walk/Dial test
_siFireMaint | GUASTO INC. | L=11 | Fire Maint.
_siRTC | Ora/Data | L=10 | Time/Date
_siEdRTC | Ora AAAA/MM | L1=13 | Time YYYY/MM
_siPgrPhn | N. Tel Pager | L1=16 | Pager X Phn No. | Installer Mode *160,163 | Pager 1 or 2 Telephone
_siPgrChar | Carat Pager | L1=16 | Pager X Chars. | Installer Mode *161,164 | Pager 1 or 2 characters
_siPgrRep | Opz Msg Pager | L1=16 | Pager X Rep Opt | Installer Mode *162,165 | Pager 1 or 2 options
_siKypdAdr | Ind.Tastiera | L1=14 | Keypad Addr
_siEntryDly | Rit Ing X | L1=9 | Ent X Dly | Installer Mode *35,36 | Entry [1or2] Delay time
_siPSubIdPri | Sett x Uten. Pri | L1=16 | Part X SubID Sec | Installer Mode *35,36 | x=1-3 Must include
_siPSubIdSec | Sett X Uten. Sec | L1=16 | Part X SubID Sec | Installer Mode *44 This the Secondary subscriber ID | x=1-3 Must include
_siResRpt | Mes Rip | L1=8 | Res Rpt | Installer Mode *70-76 | Combined with types such as "Byp Res Rpt"
_siDaylight | Iniz. Ora legale Fine | L1=13 L1=6 | Summer Start End | Daylight Savings time programming *77/*78
| Zn Zt P RC HW:Rt Zn Zt P RC RF:L Zn Zt P RC IN:L | L1=Same as English | Zn Zt P RC HW:Rt Zn Zt P RC RF:L Zn Zt P RC IN:L | ZN = Zone (2) ZT=Zone Type P=Partition RC= Report Code HW= Hardwired Rt= Response Time L=Loop number IN=Input | Summary screen in *56 The zone number determines the HW/RF/IN and RT / L
_siRepCode | Codice Msg | L1=13 | Report Code | Installer *56 | Ex. 01 Report Code
_siMonth | Mese | L=6 | Month | Various places that display date
_siWeekend | Fine Sett | L=6 | Weekend | Various places that display date
_siEnter | Enter | L=6 | Enter
_siOutputNo | Funione Usc n. | L=14 | Output Funct #
_si00Quit | (00 = Esci) | L2=11 | (00 = Quit) | Various program modes
_si0No1Yes | 0=No, 1=Si | L2=13 | 0=No , 1=Yes | Relay Programming prompt
| Sett=1 | L2=6 | Part=1 | Zone programming | Press 1 to program partition descriptor
_siHwType | Tipo Cablato | L1=13 | Hardwire Type | Zone Programming | 01 Hardwire Type
_siInputTyp | Tipo Ingr. | L1=13 | Input Type | Zone Programming
_siSet2Confirm | Confermi? | L1=16 | Set To Confirm? | Zone Programming
_siXmit2Confirm | Trasmetti ora… | L1=16 | Xmit to Confirm Press * to Skip | Zone Programming
| * Per saltare | L2=16 | Press * to Skip
_siDelZnList? | Canc Lista Zn | L1=13 | Del Zn List? | Zone List programming | Delete Zone List?
_siDelZn? | Cancella Zona? | L1=16 | Delete Zone? | Zone programming
_siZn2Del | Zn da Cancell.? | L1=13 | Zn to Delete | Zone List programming
_siCusWords? | Sel.Desc.da ZN=0 | L1=16 | Sel Zone Des=0 | Zone Programming | Select Zone Descriptor=0
_siTemplate? | Modello? | L1=16 | Template?
_siStartZn | Zona Inizio | L1=10 | Start Zone
_siAnyPartition | Ogni Settore | L2=13 | Any Partition
_siDvcTyp | Tipo Uscita | L1=13 | Output Type | Installer *79
_siPartition | Settore | L1=13 | Partition
_siRespTime | Tempo rispos. | L1=13 | Resp Time
_siPrgAlpha? | Prog. Descriz.? | L1=16 | Program Alpha? | Zone programming | Add Descriptor?
_siInputSN | Ins. S/N | L1=10 | Input S/N | Zone programming | Input RF Serial Number
_siEntdRcvd | Ins. A | L1=6 | Entd A | Entered a RF transmitter | Followed by serial number
| Ric. A | L1=6 | Rcvd A | Received serial number
_siSelTrigTyp | Attivato da: | L1=12 | Activated By: | Installer *80 - Outputs
_siDvcNo | Uscita No. | L1=10 | Output No.
_siALMFLTTRBL | ALL/APERT/GUA | L2=13 | ALM/FLT/TRBL
_siSchdNo | Fascia N. | l2=13 | Sched No.
_siSelTrig0 | Cancella | L=6 | Delete
_pEdZnList | Lista Zone | L2=13 | Zn List
_siZnTyp | Tipo Zona | L2=13 | Zn. Type
_siZoneNum | Num. Zona | L2=13 | Zn. Num
_siDisabled | Nessuno | L2=13 | None
_siEvent | Evento | L1=6 | Event
_siDvcAction | Azione Uscita | L1=13 | Output Action
_siRlyAct | Spento | L2=13 | Off | Selections for Action of output/Relay in *80
| Chiuso per 2sec. |  | Close for 2sec
| Rimane Chiuso |  | Stay Closed
| On/Off 1sec |  | 1sec On/Off
| Cam Stato Disp |  | Chg Dev State
| Tempo 1 |  | Dur. 1
| Tempo 2 |  | Dur. 2
_siInTyp2 | Zona Aus | L2=13 | Aux Wire
| Trasm RF |  | Rf Trans.
| RF non sup. |  | Unsup. RF
| Telec RF |  | Button RF
| RF Supervis. |  | Supervised RF
| Rivelatore RF |  | RF Motion
_siHWTyp2 | EOL | L2=13 | EOL
| Norm Chiuso |  | Norm Closed
| Norm Aperto |  | Norm Open
| Zona Doppia |  | Zone Doubled
| Doppio Bilan. |  | Dbl Balanced
_siSchedule _siSchedule2 | DLMMGVS | L1 1x7 | SMTWTFS | Code #64 = Schedules- One character for each day of the week Sunday through Saturday | Used for both start and stop items
_siRepOpt | Opz. Ripetiz. | L2=13 | Repeat Option | Selects how often schedule occurs; | daily, weekly, etc..
_siRandomize | Casuale | L2=13 | Randomize | Starts a schedule within 1 hr of start time | Code #64 to enter schedule mode
_siRlyEvnt | Ripristino | L2=13 | Restore | Schedule event options
| Allarme |  | Alarm
| Apertura |  | Fault
| Anomalia |  | Trouble
_si0Rly1X10 | Cancella | L2=13 | Delete | Options for *79 programing Output Types
| Rele |  | Relay
| X10 |  | X10
_siOutTyp | Tipo Uscita | L1=13 | Output Type | Installer *79
_siUntCde | Unita n. | L1=13 | Unit No. | If Output Type= X10
_siDvcAdd | Ind. Modulo | L1=13 | Module Addr | If Output type=Relay
_siRelPos | Posizione Rele | L1=13 | Rly Position | Relay Position
_siDelete | Cancella | L1=13 | Delete ? | When deleting Output
siFld57 | Premi un tasto | L1=16 | Press Key to Pgm
siFuncQt | 0 = Esci | L2=14 | 0 = Quit
siFuncKy | Funzione Tasto | L1=13 | Funtion Key
siFuncDsp | Funz Tasto | L2=13 | Key X Func | Function Key Program | X=1-4
siFuncCd | Zona 95 | L2=13 | Zone 95 | Options for
| Zona 99 |  | Zone 99 | Option for Function Key
| Zona 96 |  | Zone 96
| Pager 1 tasto |  | 1 Button Page | Options for Function Key programming *57
| Visualizza Ora |  | Display Time
| Ins Tot |  | Arm Away
| Ins Parz |  | Arm Stay
| Ins Notte |  | Arm Night
| Ins.Dis. |  | Step Arming
| Outpt Dev Com |  | Outpt Dev Com
| Test Comunic. |  | Comm Test
| Tasto Macro 1 |  | Macro Key 1
| Tasto Macro 2 |  | Macro Key 2
| Tasto Macro 3 |  | Macro Key 3
| Tasto Macro 4 |  | Macro Key 4
| Non usato | L=8 | Not Used | Unused entry | Various places, 8 char
siRlyNum | Rele n. | L2=13 | Relay No. | Relay Number
siGrpNum | Gruppo n. | L2=13 | Group No. | Group Number
siEvtTyp | Elim.Evento | L2=13 | Clear Event | Schedule Event options
| Evento Rele |  | Relay Event
| AccessoUtil |  | User Acess
| TastoMemoriz. |  | Latch Key
| Ins Parz |  | Forced Stay
| Ins Tot |  | Forced Away
| Auto Disins |  | Auto Disarm
| FasciaDisins |  | Disarm Window
| Msg Test |  | Test Report
| ContrPresenza |  | Up and About
_siRmdrMsg | Memo! | L1=10 | Reminder!
_siZnAttrib | Attributi Zn | L1=13 | Zn Attributes | Zone Attributes | Configurable Zones *83
_siBypsOpt | Opzione Escl. | L1=13 | Bypass Option
_siRespStat | Risp a | L1=8 | Resp to | Respond to YYYYYY | Short/Open/etc
| Inser | L2=5 | Armed
_siRdCID | ID Allarme: | L2=10 | Alarm ID
| ID Guasto: | L2=10 | Trouble ID
_siArmFlt | Zona Vent | L1=13 | Vent Zone
_siZnProcOps | Proc All/Anom | L1=13 | Alm/Trbl Proc
_siTRSNDOps | Suono Anom | L1=13 | Trbl Sound
_siALSNDOps | Suono All | L1=13 | Alm Sound
_siDialDly | Rit. Comb. | L1=13 | Dial Delay
_siDispOpts | Opz Visual | L1=13 | Disp Option
_siMacSel | Selez. Macro | L1=16 | Select Macro | Macro Key Programming
_siMacDsp | Visual. Macro | L1=16 | Macro Display
_siMacPrg | Prg Macro | L1=16 | Macro Pgm | Macro Program | When displaying Macro
_siUsrCode | Ins.Codice Util | L=16 | Enter User Code
_siDialDn | Comunic. Off | L1=13 | Dialer Off | Displayed if dialer is turned off in EEPROM
_siKPDLCKT | BloccoTas. | L2=10 | Code Sabotage | After 30 Keys with no valid command
_sianacommon | Ins.Parziale | L2=13 | Partial Arm | If Common Parition Keypad display
_siWarning | Avviso Ritardo | L1=16 | Warning Dly Time
_siRTCADJ | Regolazione Ora | L1=16 | Clock Adjustment
| Secondi/Giorno | L2=16 | Seconds/Day
_siEdZnWord | n. Zona? | L=9 | Zone No ?
_siPhoneNo | n.TelSeguimi: | L=12 | FM PhoneX No: | Follow me 1-3 Phone number
_siCallFW_on | CF Seguimi | L1=16 | Call Forward
| Sequenza ON | L2=13 | On Sequence
_siCallFW_off | CF Seguimi | L1=16 | Call Forward
| Sequenza OFF | L2=13 | Off Sequence
_siInvTrgr | Usc Nor Bassa? | L=13 | Out Norm Low? | *79 Output Normally Low?
_siUCons | TASTIERA | L=7 | CONSOLE
_siUExpan | ESPANSIONE | L=9 | EXPANSION
_siURfJam | JAM | L=3 | JAM
_siULngRng | LngRng Radio | L=6 | LNGRNG | Long Range Radio
_siUMod | MODULO | L=6 | MODULE
_siUOpen | APER | L=4 | OPEN
_siURelay | RELE | L=5 | RELAY
_siURadio | RADIO | L=5 | RADIO
_siURcvr | RICEV. | L=8 | RECEIVER
_siURf | RF | L=2 | RF
_siUShort | CORTO | L=5 | SHORT
_siUVoice | VOCE | L=5 | VOICE
_siUWire | CAVO | L=4 | WIRE
_siGRAPHIC | GRAFICO | L=7 | GRAPHIC
_siUDflt0/1 | Default x | L2=13 | Default Tbl X | *97
_siUDflt2 | Default Util | L2=13 | Default Users | *97
_siZnTyp0 | Disabilitata | L2=13 | Zone Disabled | Zone Type 0 | Installer *56 Zone programming types
| Entr/Usc. 1 |  | Entry/Exit 1 | Zone Type 1
| Entr/Usc. 2 |  | Entry/Exit 2 | Zone Type 2
| Perimetrale |  | Perimeter | Zone Type 3
| Int. Seguire |  | Inter. Foll | Zone Type 4
| Guasto/All. |  | Trbl/Alm | Zone Type 5
| 24h Silenz. |  | 24 Hr Silent | Zone Type 6
| 24h Udibile |  | 24 Hr Audible | Zone Type 7
| 24h Ausiliar. |  | 24 Hr Auxil | Zone Type 8
| Incendio |  | Fire | Zone Type 9
| Int.Ritardato |  | Inter. W/dly | Zone Type 10
| 24h Monitor |  | 24 Hr Monitor | Zone Type 12
| Zona CO |  | CO Zone | Zone Type 14
| Medico |  | Medical | Zone Type 15
| Incen.Verif. |  | Fire W/Ver | Zone Type 16
| Ins-Parz |  | Arm-Stay | Zone Type 20
| Ins-Tot |  | Arm-Away | Zone Type 21
| Disinser. |  | Disarm Window | Zone Type 22
| NessunAllarme |  | No Alm Resp | Zone Type 23
| Furto Silen |  | Silent Burg | Zone Type 24
| Chiave |  | KeySW | Zone Type 77
| AAV |  | AAV Feedback | Zone Type 81
| Blockschloss |  | Blockschloss | Zone Type 82
| Zn Custom |  | Config ZtypX | Zone Types 90-93, x=1-4
| FineTempoUsc |  | End Exit Time | Zone Type 31
| InizTempoIng |  | Beg Ent Time | Zone Type 32
| OgniAllFurto |  | Any Burg Alm | Zone Type 33
| Tempo Sirena |  | Bell Timeout | Zone Type 36
| Gong |  | Chime | Zone Type 38
| Ogni All Inc |  | Any Fire Alm | Zone Type 39
| Esclusione |  | Bypassing | Zone Type 40
| Mancanza RETE |  | A.C. Pwr Fail | Zone Type 41
| Batt.Bassa |  | Syst Low Bat | Zone Type 42
| Comun.Fallita |  | Comm Fail | Zone Type 43
| Ripr.Batteria |  | Bat. Restore | Zone Type 46
| Kissoff |  | Kissoff | Zone Type 52
| Reset Zn Inc |  | Fire Zn Reset | Zone Type 54
| Coercizione |  | Duress | Zone Type 58
| AAV |  | AAV Feedback | Zone Type 60
| Tasto Funz |  | Func Key | Zone Type 66
| Guasto Sirena |  | Bell Fail | Zone Type 67
| NoLineaTel |  | Telco Cut | Zone Type 68
| RipLineaTel |  | Phn Line Rest | Zone Type 69
| Ripr.Rete |  | AC Restore | Zone Type 70
| Reset |  | Pwr-Up/Clk Fail | Zone Type 71
| RegolaOra |  | Clock Set | Zone Type 72
| Led Rosso |  | KeySW Red | Zone Type 78
| Led Verde |  | KeySW Green | Zone Type 79
| Ogni Tamper |  | Any Tmpr. | Zone Type 80
C FILE | PanelCtx2.c | L1=2 | 1P | Phone 1 | Quick Mode
C FILE | PanelCtx2.c | L1=2 | Pri. SubID\x02 |  | Quick Mode
C FILE | PanelCtx2.c | L1=2 | 2P | Phone 2 | Quick Mode
C FILE | PanelCtx2.c | L1=16 | Sec. SubID\X04 |  | Quick Mode
C FILE | PanelCtx2.c | L1=16 | Select Defaults |  | Quick Mode
C FILE | PanelCtx2.c | L1=16 | Installer Mode |  | Quick Mode
_sianacommon | Ins Parziale | L1-16 | Partial Arm |  | Common Part. Message
_siHelpMenu | MENU HELP | L1=16 | HELP MENU | Help menu Mode
_HelpHeaderMain1 | Funzioni Sistema | L1-16 | System Functions | Help menu Mode
| Memoria Eventi | L1=16 | View Log | Help menu Mode
| N. Tel. Seguimi | L1-16 | Follow Me Num | Help menu Mode
| Funzione Seguimi | L1=16 | Call forwarding | Help menu Mode
| Vedi/Prog. Ora | L1=16 | View/{Set} Clock | Help menu Mode
| Progr. Fascie | L1=16 | Prog. Schedules | Help menu Mode
| TastoMacroOn/Off | L1-16 | Key Macro On/off | Help menu Mode
| Modo Test On/Off | L1=16 | Test Mode On/Off | Help menu Mode
_HelpHeaderMain2 | Prog. Utenti | L1-16 | User Code Prog. | Help menu Mode
| Aggiungi Utente | L1=16 | Add User | Help menu Mode
| Elimina Utente | L1-16 | Delete User | Help menu Mode
| Livel. Autorita | L1=16 | Authority Level | Help menu Mode
| Scegli Gruppo | L1-16 | Define Group | Help menu Mode
| Scegli Settore | L1=16 | Define Partition | Help menu Mode
| Mappa Zn/Utente | L1-16 | Map Zone-User | Help menu Mode
| Tx Ins/Dis Utente | L1=16 | User Rpt On/Off | Help menu Mode
_HelpHeaderMain3 | Funz. Settore | L1-16 | Partition Func | Help menu Mode
| Vai a Settore | L1=16 | Go To Partition | Help menu Mode
| Ins. Globale | L1-16 | Arm/Disarm All | Help menu Mode
| Vedi altri Sett. | L1=16 | Change Kypd Part | Help menu Mode
_HelpHeaderMain4 | Comandi Vari | L1=16 | Misc. Commands | Help menu Mode
| Inser. Notte | L1-16 | Arm Night Stay | Help menu Mode
| Esclusione Zona | L1=16 | Bypass Zone | Help menu Mode
| Escl.Semplificata | L1-16 | Quick Bypass | Help menu Mode
| Abil. Istallatore | L1=16 | Enable Installer | Help menu Mode
| Uscite On/Off | L1-16 | Output On/Off | Help menu Mode
Note on B146: E187788: SG: leave this in english please…it is better to understand. Ciao
Note on B261: E187788: STEFANO GAMBIN: PLEASE EXPLAIN BETTER OR LEAVE ALL IN ENGLISH NO PROBLEM CIAO
Note on C2: Format: L1=16;L2=13. This means that line 1 cannot exceed 16 characters and line 2 cannot exceed 13 characters. This includes spaces.

## Fragments
Vista-48/12 Translation File V4.0 - May 2006
Label | Translated text 123456789ABCDEF6 | Limits | English | When Displayed | Comments
_si_Alm | All. | L1= 5 | Alm | Formated with other information to display the listed condition. | Alarm
_SI_Trb | Gua. |  | Trb |  | Trouble
_si_Byp | Escl. |  | Byp |  | Bypass
_si_AC | RETE |  | AC
_si_LB | BATT |  | LB |  | Low Battery
_si_Test | Test |  | Test
_siRFLB | BatRF |  | RF LB |  | Wireless Low Battery
_siInTyp | AW |  | AW |  | Auxillary Wired
_si_RF | RF | L2=2 | RF | Displayed in *56 Summary Screen | Wireless Transmitter
| UR |  | UR |  | Unsupervised Wireless
| BR |  | BR |  | Button Wireless
| SR |  | SR
| RM |  | RM |  | Wireless motion detector
_siHwTyp | EL | L=2 | EL | Displayed in *56 Summary Screen | End Of Line
| NC |  | NC |  | Normally Closed
| NA |  | NO |  | Normally Open
| ZD |  | ZD |  | Zone Doubled
| DB |  | DB |  | Double Balanced
_siWKIDX | LUN | L=3 | MON | Days of the week, Monday through Sunday. Used in various displays. Schedules etc..
| MAR |  | TUE
| MER |  | WED
| GIO |  | THU
| VEN |  | FRI
| SAB |  | SAT
| DOM |  | SUN
_siStart | Inizio | L1=7 | Start | Schedule start time
_siEnd | Fine | L1=7 | End | Schedule End Time
_siInTypHW | HW:RT | L1=5 | HW:RT | *56 Zone summary if RF
_siInTypAW | IN:AD | L1=5 | IN:AD | *56 Zone summary if Aux Expander Zone | IN=Input:AD=ECP Address
_siInTypRF | IN:L | L1=5 | IN:L | *56 Zone summary if RF | Input type and Loop
Note on C2: Format: L1=16;L2=13. This means that line 1 cannot exceed 16 characters and line 2 cannot exceed 13 characters. This includes spaces.

## Installer
Installer Programming - Vista48/12 V4.0 - May 2006 | Vista-48/12 Translation File V4.0 - April 4, 2006
Label | Translated text 123456789ABCDEF6 | Limits | English | When Displayed | Comments
_siFld20 | Cod. Install. | L1=16 | Installer Code | Installer *20
| Ins Sempl | L1=10 | Quick Arm | Installer *21
| Opzioni RF | L1=16 | RF Options | Installer *22 | RF Options
| Escl Forz | L1=10 L2=7 | Force Bypass / Grp Byp | Installer *23 | Force Bypass
| Codice Imp | L1=10 | House Code | Installer *24
| Ins Incondizion. | L1=16 | Arming Override | Installer *25
| Gong per Zona / Funzione #65 | L1=16 L2=13 | Chime by Zone #65 Prog Mode | Installer *26
| X10 Cod Impianto | L1=16 | X10 House Code | Installer *27
| Selez Lingua | L1=16 | Language Select | Installer *28 | Language Select
| abil. ECP CID | L1=16 | ECP CID Enable | Installer *29 | Long Range Radio ECP enable
| Sett 3 = comune | L1=16 | Ptn 3 = Common | Installer *30 | The 3rd partition is common (V48 only)
| 1 Singolo Allarme 2 Tempo Pratica | L1=16 L2=13 | 1 Aud Alm per Zn 2Days No Bell | Installer *31 | 1 Audible alarm per zone per arm period/ Number of Days after install that bell does not ring
| T.Inc.Infinito | L1=16 | No Fire Timeout | Installer *32
| Tempo Sirena | L1=16 | Siren Timeout | Installer *33
| Rit Uscita | L1=10 | Exit Delay | Installer *34
| Avv Uscita | L1=10 | Aud. Exit Warn | Installer *37
| Conf. Ins. | L1=10 | Bell Ding Opt. | Installer *38
| StatoPrecedente | L1=16 | Pwr Up Prv | Installer *39 | Power Up Previous State
| PABX | L1=16 | PABX | Installer *40 | Phone prefix to allow access, 6 digits
| Tel. Princ. | L1=16 | Pri.Phone | Installer *41
| Tel. Second. | L1=16 | Sec.Phone | Installer *42
| Tel./Tentativi | L1=16 | Phn Sys/Dial Att | Installer *47 | Phone System / Dialer Attempts
| Form Msg Pri/Sec | L1=16 | Rep Form Pri/Sec | Installer *48
| Separata/Doppia | L1=16 | Split/Dual | Installer *49
| Rit.TX Furto | L1=16 | Burg Dial Dly | Installer *50
| Sescoa/Radionics | L1=16 | Sescoa/Radionics | Installer *53
| Abil.CID | L2=13 | CID Rep En. | Installer *53
| Rit.Tx Dinamica | L1=16 | Dyn Sig Delay | Installer *54 | Dynamic Signal Delay
| Prior.TxDinamica | L1=16 | Dyn Sig Priority | Installer *55
| Tx Errore Uscita | L1=16 | Exit Error Rpt | Installer *59 | Exit Error Report Code
| Cod.Tx Guasto | L1=16 | Trb Rpt Code | Installer *60 | Trouble Report Code
| Cod.Tx Escl. | L1=16 | Byp Rpt Code | Installer *61 | Bypass Report Code
| Cod.Tx NoRete | L1=16 | AC Loss Rpt | Installer *62
| Cod.Tx B.Bassa | L1=16 | Low Bat Rpt | Installer *63
| Cod.Tx Test | L1=16 | Test Rpt | Installer *64
| Cod.Tx Dis. | L1=10 | Open Rpt | Installer *65
| Cod.Tx Ins. | L1=10 | Awy/Sty Rp | Installer *66 | Armed Away/Stay Report Code
| Cod.Tx BAT RF | L1=16 | RF LB Rpt | Installer *67 | RF transmitter low battery Report Code
| Cod.Tx Cancel | L1=16 | Cancel Rpt | Installer *68
| Opz.Tx Riprist. Codici Riprist. | L1=16 L2=13 | Alm Rest. Option Alm Rest.Cde | Installer *69 | Alarm Restore Report Option
| Log Completo | L1=16 | Log Full Report | Installer *70 | Alarm Restore Report Code
_siResRpt,_si_Trb | TxRipr.Guasto | L1=16 | Trb Res Rpt | Installer *71 | Trouble Report Code
_siResRpt,_si_Byp | TxRipr.Escl. | L1=16 | Byp Res Rpt | Installer *72 | Bypass Restore Report Code
_siResRpt,_si_AC | TxRipr.Rete | L1=16 | AC Res Rpt | Installer *73 | AC Restore Report Code
_siResRpt,_si_LB | TxRipr.B.Bat | L1=16 | LB Res Rpt | Installer *74 | Low Battery Restore Report Code
_siResRpt,_si_RFLB | TxRipr.BattRF | L1=16 | RF LB Res Rpt | Installer *75 | RF Low Batt. Restore Report Code
_siResRpt,_si_Test | TxRipr. Test | L1=16 | Test Res Rpt | Installer *76
| Opz. Auto Parz./ FTO / LTC | L1=16 L2=13 | Auto Stay Opts / FTO / LTC | Installer *84
| Tempo Zone AND Tempo UPABOUT | L1=16 L2=13 | Cross Zn/Up and About Times | Installer *85 | Line 1
| Verifica cancel | L1=16 | Cancel Verify / | Installer *86
| Ritardo rete | L2=13 | AC Dial Delay
| Rit.Tempo Apert. Contaimpulsi | L1=16 L2=13 | Flt Dly Time/ Pulse Cnt 5/6 | Installer *87 | Fault Delay Time
| Opzioni uscita Tx autoescl. | L1=16 L2=13 | Exit Options Rpt Auto Byp. | Installer *88
| Msg Mem Piena | L1=16 | Log Full Rpt | Installer *89
| Abilita Mem | L1=16 | Log Enables | Installer *90
| Opzioni Varie | L1=16 | Misc. Options | Installer *91 | Miscellaneous Options
| Sup Linea Tel | L1=16 | Telecom Monitor | Installer *92
| n. Msg/Ins/Zona | L1=16 | # Rpts/Arm | Installer *93 | Number of reports per arm period
| Tel Teleass | L1=16 | Downld Phone | Installer *94 | Compass Phone Number
| n. squilli Tentat.Pager | L1=16 L2=13 | Ring Cnt/Follow-Me Attempts | Installer *95
| CSID | L1=16 | Init CSID | Installer *96 | Prompt to default CSID
| Valori Preset | L1=16 | Preset Fields | Installer *97 | Prompt to default entire panel
| Ritardo Pager | L1=16 | Pager Delay | Installer *166
| Modulo Tel. | L1=16 | Phone Module | Installer *167 | Enable phone module by entering 4 digit access code
| Opz Msg RF | L1=16 | RF Rpt Options | Installer *173 | RF Report Options
| Opzioni Tamper | L1=16 | Tamper Options | Installer *175
| Opz Sirena | L1=16 | Siren Options | Installer *176
| Dur Apparati | L1=11 | Device Dur. | Installer *177 | Device Duration Time 1 2
| Accecamento RF | L1=16 | RF Sup/Jam Opts | Installer *178 | RF Supervision/RF JAM Options
| 3EOL Programmab. | L1=16 | Programmable EOL | Installer *179
| Limite Esc Zone | L1=16 | Zone Byp Limit | Installer *180 | Zone Bypass Limit
| Opzioni Rete | L1=16 | AC Options | Installer *181
| Gio Ora Leg | L1=16 | Summer Chg Day | Installer *182 | Day of the week that summer daylight savings time begins
| Formato Data/Ora | L1=16 | Date/Time Format | Installer *183 | Selects date format mm/dd/yy or dd/mm/yy
| Opz Teleass | L1=16 | Download Opt | Installer *185 | Downloader (Compass) Supression Options
| Opz Visualizza | L1=16 | Display Options | Installer *186
| Rip Cicalino | L1=16 | Sounder Mimic | Installer *187 | Sounder Mimic on Trigger 1 (Output 17)
| Opz.BloccoTasti | L1=16 | Kyp Sabotage Opt | Installer *188 | Keypad sabotage/tamper Options
| Sett AUI ECP | L1=13 | AUI Part ECP | Installer *189 | Selects partition for Graphic keypad
| Int Rit Usc | L1=16 | Ex Dly Intrvl | Installer *197 | Exit delay count down time interval
| Vis N. Sett | L1=16 | Disp Part No. | Installer *198 | Display Partition number
| Vis Guasto ECP | L1=16 | ECP Fail Display | Installer *199 | Display ECP devices that are not working
Note on C2: Format: L1=16;L2=13. This means that line 1 cannot exceed 16 characters and line 2 cannot exceed 13 characters. This includes spaces.