## Foglio1
2026-07-29
Configurazione CP300
PARAMETER NUMBER | 0 | 0
PRINTER | O | FF
RECEIVER TYPE | F | BI
RECEIVER NUMBER | 1
SOUNDER | O | FF
SLOT | 1 |  | IS IN GROUP | 1
SLOT | 1 |  | NEEDS 1 RINGS
SLOT | 1 |  | HI / LO IS | 1
SLOT DELAY IS | 1 |  | SEC
SERIAL BOUD IS | 60 | 0
SERIAL STOP BITS IS | 1
SERIAL DATA BITS IS | 8
HEADER | 4 | 8
TIME | 0 | 5
T-HEADER | 0 | 0
TROUBLE DELAY | 0 | 5
ACK | 0 | 6
NAK | 2 | 1
BS | 0 | 8
CR | 0 | B
DTR HANDSHAKE | O | N
RTS HANDSHAKE | O | FF
TERMINATOR | 0 | B
TIME TERMINATOR | 1 | 4
LF | 0 | A
CHANNEL | 1 | CHAN1
SLOT | 1 | CODE | 0
COPY SLOT | 1 | TO | SLOT 1
SLOT | 1 | ENGLISH | ON
OPERATOR | DAVE | 1235
LISTEN TIME | 30 | SEC
LISTEN ACCOUNT | BCDEF
TEST CHARACTERS | 0 | 1
PRINTER LINE FEED | O | FF
BATTERY TEST | O | N
MANUAL SOUNDER | O | FF
PRINTER FAIL | 1 | MAIN | OFF
COMPUT FAIL | 1 | MAIN | ON
AUTO MODE ENABLE | O | N
MESSAGE SPACE | 1 | LINES
SLOT | 1 | LINE | DETECTED ON
AUTO MESSAGE | O | N
SLOT 1 FORMAT | 4X1 | W0/P
DATA LOOP TEST | O | FF
COMP FAIL TEST | O | FF
FBY ENGLISH | 0 | ZF | 0
XON | 0 | 0
XOFF | 0 | 0
ACRON II DIGIT | W/ | SPACE
RTS / CTS PROTOCOL | O | FF
SLOT 1 FBY SUPERFAST | W/ | SPACE
SLOT 1 GHANDSHAKE | 1 | SEC
AUTO MODE SOUNDER | O | FF
SLOT 1 | 4X2 | AT 40PPS
SLOT 1 FORMAT | 4X2 | W0/P
MAY EXTENDED BFSK | ALLARMS
SLOT 1 IST | HS | 1 NONE
COMPUTER | I/O | ON
PRINTER | O | FF